## Sheet1
Item Code | Item Description | Input Material Code No. Option 1 | Input Material Code No. Option 2 | Input Material Code No. Option 3 | Input Material Description Option 1 | Input Material Description Option 2 | Input Material Description Option 3 | Description Change | Change Date
C1601.0109 | RESTOR STRAIGHT INTRAMEDULLARY STEM 9MM, TRIAL | RSS05RS2500 | N/A | N/A | Bar Round in 304 Confirming to IS 6603-2001 Dia. 25.00 mm (+/-0.1) | N/A | N/A | Initial Issue | 2019-05-04
C1601.0110 | RESTOR STRAIGHT INTRAMEDULLARY STEM 10MM, TRIAL | RSS05RS2500 | N/A | N/A | Bar Round in 304 Confirming to IS 6603-2001 Dia. 25.00 mm (+/-0.1) | N/A | N/A | Initial Issue | 2019-05-04
C1601.0111 | RESTOR STRAIGHT INTRAMEDULLARY STEM 11MM, TRIAL | RSS05RS2500 | N/A | N/A | Bar Round in 304 Confirming to IS 6603-2001 Dia. 25.00 mm (+/-0.1) | N/A | N/A | Initial Issue | 2019-05-04
C1601.0112 | RESTOR STRAIGHT INTRAMEDULLARY STEM 12MM, TRIAL | RSS05RS2500 | N/A | N/A | Bar Round in 304 Confirming to IS 6603-2001 Dia. 25.00 mm (+/-0.1) | N/A | N/A | Initial Issue | 2019-05-04
C1601.0209 | RESTOR CURVED INTRAMEDULLARY STEM 9MM, TRIAL | RSS05RS2500 | N/A | N/A | Bar Round in 304 Confirming to IS 6603-2001 Dia. 25.00 mm (+/-0.1) | N/A | N/A | Initial Issue | 2019-05-04
C1601.0210 | RESTOR CURVED INTRAMEDULLARY STEM 10MM, TRIAL | RSS05RS2500 | N/A | N/A | Bar Round in 304 Confirming to IS 6603-2001 Dia. 25.00 mm (+/-0.1) | N/A | N/A | Initial Issue | 2019-05-04
C1601.0211 | RESTOR CURVED INTRAMEDULLARY STEM 11MM, TRIAL | RSS05RS2500 | N/A | N/A | Bar Round in 304 Confirming to IS 6603-2001 Dia. 25.00 mm (+/-0.1) | N/A | N/A | Initial Issue | 2019-05-04
C1601.0212 | RESTOR CURVED INTRAMEDULLARY STEM 12MM, TRIAL | RSS05RS2500 | N/A | N/A | Bar Round in 304 Confirming to IS 6603-2001 Dia. 25.00 mm (+/-0.1) | N/A | N/A | Initial Issue | 2019-05-04
D0102.0102.12 | S.S. LOWER TRAY FOR INSTRUMENTS USED IN BASIC SET E0101 (STD PATTERN), ADLER, PIPE 1 | RSS05PI1190 | N/A | N/A | Seamless Tube, in 304 Confirming to ASTM A312 TP 304 - OD 11.00 mm(+0.0/-0.05), ID 9.00 mm (+0.00/-0.40) with Centreless Grinding Finish" | N/A | N/A | Initial Issue | 2019-05-04
D0102.0102.13 | S.S. LOWER TRAY FOR INSTRUMENTS USED IN BASIC SET E0101 (STD PATTERN), ADLER, PIPE 2 | RSS05PI2220 | N/A | N/A | SS 304 Pipe 22 x 20 MM | N/A | N/A | Initial Issue | 2019-05-04
D0102.1801 | UPPER TRAY, RESTOR UPPER LIMB INSTRUMENT SET | SF00000096 | N/A | N/A | D0102.1801 - Upper Tray - Restor Upper Limb Instrument Set | N/A | N/A | Initial Issue | 2019-05-04
D0102.1802 | LOWER TRAY, RESTOR UPPER LIMB INSTRUMENT SET | SF00000097 | N/A | N/A | D0102.1802 - Lower Tray - Restor Upper Limb Instrument Set | N/A | N/A | Initial Issue | 2019-05-04
D0202.32 | MALLEOLAR COUNTERSINK TIP 3.2MM, S`RUT | RSS08RS100 | N/A | N/A | Bar Round, AISI 410 - 10.00 mm | N/A | N/A | Initial Issue | 2019-05-04
D0102.2102 | ATLAS TFN IMPLANT CASE MIDDLE TRAY | SD01012602 | SF00000105 | N/A | Atlas TFN Implant Case consisting of Atlas TFN Implant Case Lower Tray/Base, Atlas TFN Implant Case Middle Tray, Atlas TFN Implant Case Upper Tray, Atlas TFN Implant Case Screw Caddy, Atlas TFN Implant Case, Lid | N/A | N/A | Initial Issue | 2019-05-04