## Sheet1
SPECIFICATION NO. | ITEM_CODE | DESCRIPTION | GS1 Codes | Drawing No. | Rev. No. | Rev. Date | Next Rev. Date | Reaffirmation Date | Next Reaffirmation Date | Quality Plan Number | Rev. No. | Rev. Date | Next Rev. Date | Reaffirmation Date | Next Reaffirmation Date | Process Sheet Number | Rev. No. | Rev. Date | Next Rev. Date | Reaffirmation Date | Next Reaffirmation Date | Record File Number | Technical File | Instruction For Use | Classification as per MDD | ITEM TYPE | Brand details | Family Name | SNN description | Label Format Number | Sterile Yes or No | Non Sterile Logo Yes or No | Sterile Logo R or EO or Blank Cell | Sterile Expiry Date Yes or No | Image File Name | CE Mark Required Yes or No | Notified Body Number Number or Blank Cell | EAR LOGO and Address Yes or No | Read Instructions Logo Yes or No | Temperature Logo Yes or No | Do Not Re-use Logo Yes or No | Drug License No. MFG/MD/2021/000369 or Adler-Ratna-MH/M/MD/004992 | HSN code | QUANTITY PER PACK | HIERARCHY PATH | UNIT WEIGHT Kgs | REVISION RECORD | INACTIVE | PRODUCT_GROUP | GS1 Code | Control Sample applicabilit1 1 or No | DOC applicability Yes or No | Instruction for Use symbol | DoNot reuse symbol | NonSterile logo | CE Logo | AD_SP1 | AD_SP2
87110001 | 87110001.01 | LENO GAUZE ROLL WIDTH 10CM | [7 empty] | QPF/87110001.01 | N. A. | N. A. | N. A. | N. A. | N. A. | PS/87110001.01 | N. A. | N. A. | N. A. | N. A. | N. A. | 87110001 |  | N. A. | N. A. | SEMIFINISHED GOODS | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | No | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | Added 01APR2023 | N | N. A. |  | No | No | N. A. | N. A. | N. A. | N. A. | N. A. | N. A.
87110001 | 87110001.015 | LENO GAUZE ROLL WIDTH 15CM | [7 empty] | QPF/87110001.015 | N. A. | N. A. | N. A. | N. A. | N. A. | PS/87110001.015 | N. A. | N. A. | N. A. | N. A. | N. A. | 87110001 |  | N. A. | N. A. | SEMIFINISHED GOODS | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | No | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | Added 01APR2023 | N | N. A. |  | No | No | N. A. | N. A. | N. A. | N. A. | N. A. | N. A.
D0216.250 | D0216.250 | HEXAGONAL SCREWDRIVER FOR 3.5MM SCREWS WITH SILICON HANDLE, 190MM LONG |  | D0216.250 | 00 | N. A. | N. A. | N. A. | N. A. | QPF/D0216.250 | 00 | N. A. | N. A. | N. A. | N. A. | PS/D0216.250 | 00 | N. A. | N. A. | N. A. | N. A. | D0216.250 | TF-IN | IU/5 | Class A | FINISHED GOODS | ADLER™ | HEX. SCREW DRIVER FOR 3.5MM SCREWS | WITH BLUE SILICON HANDLE, 190MM LONG | 17 | No | Yes |  | No | N. A. | No | N. A. | No | Yes | No | No | MFG/MD/2022/63252 |  | 1 | ADLER PRODUCTS\INSTRUMENTS \SCREW DRIVERS, ADLER | N. A. | New added on 29JUL2023 | N | Surgical Screw Driver |  | No | No | Yes | No | Yes | N. A. | N. A. | N. A.
D0216.250 | D0216.250.01 | HEXAGONAL SCREWDRIVER FOR 3.5MM SCREWS WITH SILICON HANDLE, SHAFT |  | D0216.250 | 00 | N. A. | N. A. | N. A. | N. A. | N. A. | 00 | N. A. | N. A. | N. A. | N. A. | PS/D0216.250.01 | 00 | N. A. | N. A. | N. A. | N. A. | D0216.250 | TF-IN | IU/5 | N. A. | SEMIFINISHED GOODS | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | No | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | SUB COMPONENTS | N. A. | New added on 29JUL2023 | N | SUB COMPONENTS |  | No | No | N. A. | N. A. | N. A. | N. A. | N. A. | N. A.
D0216.250 | D0216.250.02 | HEXAGONAL SCREWDRIVER FOR 3.5MM SCREWS, SILICON HANDLE |  | D0216.250 | 00 | N. A. | N. A. | N. A. | N. A. | N. A. | 00 | N. A. | N. A. | N. A. | N. A. | PS/D0216.250.02 | 00 | N. A. | N. A. | N. A. | N. A. | D0216.250 | TF-IN | IU/5 | N. A. | SEMIFINISHED GOODS | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | No | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | SUB COMPONENTS | N. A. | New added on 29JUL2023 | N | SUB COMPONENTS |  | No | No | N. A. | N. A. | N. A. | N. A. | N. A. | N. A.
D0216.250 | D0216.250.03 | HEXAGONAL SCREWDRIVER FOR 3.5MM SCREWS, DOWEL PIN |  | D0216.250 | 00 | N. A. | N. A. | N. A. | N. A. | N. A. | 00 | N. A. | N. A. | N. A. | N. A. | PS/D0216.250.03 | 00 | N. A. | N. A. | N. A. | N. A. | D0216.250 | TF-IN | IU/5 | N. A. | SEMIFINISHED GOODS | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | No | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | SUB COMPONENTS | N. A. | New added on 29JUL2023 | N | SUB COMPONENTS |  | No | No | N. A. | N. A. | N. A. | N. A. | N. A. | N. A.
D0216.350 | D0216.350 | HEXAGONAL SCREWDRIVER FOR 4.5MM SCREWS WITH SILICON HANDLE, 240MM LONG |  | D0216.350 | 00 | N. A. | N. A. | N. A. | N. A. | QPF/D0216.250 | 00 | N. A. | N. A. | N. A. | N. A. | PS/D0216.350 | 00 | N. A. | N. A. | N. A. | N. A. | D0216.350 | TF-IN | IU/5 | Class A | FINISHED GOODS | ADLER™ | HEX. SCREW DRIVER FOR 4.5MM SCREWS | WITH BLUE SILICON HANDLE, 240MM LONG | 17 | No | Yes |  | No | N. A. | No | N. A. | No | Yes | No | No | MFG/MD/2022/63252 |  | 1 | ADLER PRODUCTS\INSTRUMENTS \SCREW DRIVERS, ADLER | N. A. | New added on 29JUL2023 | N | Surgical Screw Driver |  | No | No | Yes | No | Yes | N. A. | N. A. | N. A.
D0216.350 | D0216.350.01 | HEXAGONAL SCREWDRIVER FOR 4.5MM SCREWS WITH SILICON HANDLE, SHAFT |  | D0216.350 | 00 | N. A. | N. A. | N. A. | N. A. | N. A. | 00 | N. A. | N. A. | N. A. | N. A. | PS/D0216.350.01 | 00 | N. A. | N. A. | N. A. | N. A. | D0216.350 | TF-IN | IU/5 | N. A. | SEMIFINISHED GOODS | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | No | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | SUB COMPONENTS | N. A. | New added on 29JUL2023 | N | SUB COMPONENTS |  | No | No | N. A. | N. A. | N. A. | N. A. | N. A. | N. A.
D0216.350 | D0216.350.02 | HEXAGONAL SCREWDRIVER FOR 4.5MM SCREWS, SILICON HANDLE |  | D0216.350 | 00 | N. A. | N. A. | N. A. | N. A. | N. A. | 00 | N. A. | N. A. | N. A. | N. A. | PS/D0216.350.02 | 00 | N. A. | N. A. | N. A. | N. A. | D0216.350 | TF-IN | IU/5 | N. A. | SEMIFINISHED GOODS | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | No | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | SUB COMPONENTS | N. A. | New added on 29JUL2023 | N | SUB COMPONENTS |  | No | No | N. A. | N. A. | N. A. | N. A. | N. A. | N. A.
D0216.350 | D0216.350.03 | HEXAGONAL SCREWDRIVER FOR 4.5MM SCREWS, DOWEL PIN |  | D0216.350 | 00 | N. A. | N. A. | N. A. | N. A. | N. A. | 00 | N. A. | N. A. | N. A. | N. A. | PS/D0216.350.03 | 00 | N. A. | N. A. | N. A. | N. A. | D0216.350 | TF-IN | IU/5 | N. A. | SEMIFINISHED GOODS | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | No | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | SUB COMPONENTS | N. A. | New added on 29JUL2023 | N | SUB COMPONENTS |  | No | No | N. A. | N. A. | N. A. | N. A. | N. A. | N. A.
66007505.01 | 66007505.01 | VEGETABLE PARCHMENT PAPER, WIDTH 16CM X LENGTH 14CM |  | 66007505.01 | 00 | N. A. | N. A. | N. A. | N. A. | QPF/66007505.01 | N. A. | N. A. | N. A. | N. A. | N. A. | PS/66007505.01 | N. A. | N. A. | N. A. | N. A. | N. A. | 66007505 |  | N. A. | N. A. | SEMIFINISHED GOODS | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | New added on 29JUL2023 | N | N. A. |  | No | No | N. A. | N. A. | N. A. | N. A. | N. A. | N. A.
66007505.02 | 66007505.02 | PIPE FOR LENO GAUZE DRESSING | [7 empty] | QPF/66007505.02 | N. A. | N. A. | N. A. | N. A. | N. A. | PS/66007505.02 | N. A. | N. A. | N. A. | N. A. | N. A. | 66007505 |  | N. A. | N. A. | SEMIFINISHED GOODS | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | Added on 29JUL2023 | N | N. A. |  | No | No | N. A. | N. A. | N. A. | N. A. | N. A. | N. A.
87120003.01 | 87120003.01 | VEGETABLE PARCHMENT PAPER, WIDTH 11CM X LENGTH 10CM |  | 87120003.01 | 00 | N. A. | N. A. | N. A. | N. A. | QPF/87120003.01 | N. A. | N. A. | N. A. | N. A. | N. A. | PS/87120003.01 | N. A. | N. A. | N. A. | N. A. | N. A. | 87120003 |  | N. A. | N. A. | SEMIFINISHED GOODS | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | New added on 29JUL2023 | N | N. A. |  | No | No | N. A. | N. A. | N. A. | N. A. | N. A. | N. A.
87120003.02 | 87120003.02 | LENO GAUZE CLOTH, WIDTH 10CM X LENGTH 10CM | [7 empty] | QPF/87120003.02 | N. A. | N. A. | N. A. | N. A. | N. A. | PS/87120003.02 | N. A. | N. A. | N. A. | N. A. | N. A. | 87120003 |  | N. A. | N. A. | SEMIFINISHED GOODS | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | Added on 29JUL2023 | N | N. A. |  | No | No | N. A. | N. A. | N. A. | N. A. | N. A. | N. A.
C1906 | C1906.00.01 | GUIDE WIRE HOLDER SELF-LOCKING, ADLER, MAIN BODY |  | C1906.00.01 | 01 | 2016-04-22 | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | PS/C1906.00.01 | 00 | 2017-01-07 | N. A. | N. A. | N. A. | C1906 | TF-IN | IU/5 | N. A. | SEMIFINISHED GOODS | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | SUB COMPONENTS | 0 | New added on 29JUL2023 | Y | SUB COMPONENTS |  | No | No | N. A. | N. A. | N. A. | N. A. | N. A. | N. A.
C1906 | C1906.00.02 | GUIDE WIRE HOLDER SELF-LOCKING, ADLER, PLUNGER |  | C1906.00.02 | 01 | 2016-04-22 | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | PS/C1906.00.02 | 00 | 2017-01-07 | N. A. | N. A. | N. A. | C1906 | TF-IN | IU/5 | N. A. | SEMIFINISHED GOODS | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | SUB COMPONENTS | 0 | New added on 29JUL2023 | Y | SUB COMPONENTS |  | No | No | N. A. | N. A. | N. A. | N. A. | N. A. | N. A.
C1906 | C1906.00.03 | GUIDE WIRE HOLDER SELF-LOCKING, ADLER, CAP AND STUD ASSEMBLY |  | C1906.00.03 | 01 | 2016-04-22 | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | PS/C1906.00.03 | 00 | 2017-01-07 | N. A. | N. A. | N. A. | C1906 | TF-IN | IU/5 | N. A. | SEMIFINISHED GOODS | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | SUB COMPONENTS | 0 | New added on 29JUL2023 | Y | SUB COMPONENTS |  | No | No | N. A. | N. A. | N. A. | N. A. | N. A. | N. A.
87110001.101 | 87110001.101 | BACTIGRAS, CHLORHEXIDINE GAUZE DRESSING, WITH PARCHMENT PAPER, SIZE 10CM X 10CM, SINGLE DRESSING | [7 empty] | QPF/87110001.101 | N. A. | N. A. | N. A. | N. A. | N. A. | PS/87110001.101 | N. A. | N. A. | N. A. | N. A. | N. A. | 87110001 |  | N. A. | N. A. | SEMIFINISHED GOODS | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | Added on 29AUG2023 | N | N. A. |  | No | No | N. A. | N. A. | N. A. | N. A. | N. A. | N. A.
87110005.103 | 87110005.103 | BACTIGRAS, CHLORHEXIDINE GAUZE DRESSING, WITH PARCHMENT PAPER, SIZE 10CM X 30CM, SINGLE DRESSING | [7 empty] | QPF/87110005.103 | N. A. | N. A. | N. A. | N. A. | N. A. | PS/87110005.103 | N. A. | N. A. | N. A. | N. A. | N. A. | 87110005 |  | N. A. | N. A. | SEMIFINISHED GOODS | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | Added on 29AUG2023 | N | N. A. |  | No | No | N. A. | N. A. | N. A. | N. A. | N. A. | N. A.
66007505.1501 | 66007505.1501 | BACTIGRAS , CHORHEXIDINE GAUZE DRESSING, WITH PARCHMENT PAPER, SIZE 15CM X 1M, SINGLE ROLL | [7 empty] | QPF/66007505.1501 | N. A. | N. A. | N. A. | N. A. | N. A. | PS/66007505.1501 | N. A. | N. A. | N. A. | N. A. | N. A. | 66007505 |  | N. A. | N. A. | SEMIFINISHED GOODS | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | Added on 29AUG2023 | N | N. A. |  | No | No | N. A. | N. A. | N. A. | N. A. | N. A. | N. A.
87120007.103 | 87120007.103 | JELONET, PARAFFIN GAUZE DRESSING, WITH PARCHMENT PAPER, SIZE 10CM X 30CM, SINGLE DRESSING | [7 empty] | QPF/87120007.103 | N. A. | N. A. | N. A. | N. A. | N. A. | PS/87120007.103 | N. A. | N. A. | N. A. | N. A. | N. A. | 87120007 |  | N. A. | N. A. | SEMIFINISHED GOODS | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | Added on 29AUG2023 | N | N. A. |  | No | No | N. A. | N. A. | N. A. | N. A. | N. A. | N. A.
87120005.101 | 87120005.101 | JELONET, PARAFFIN GAUZE DRESSING, WITH PARCHMENT PAPER, SIZE 10CM X 10CM, 5 DRESSINGS | [7 empty] | QPF/87120005.101 | N. A. | N. A. | N. A. | N. A. | N. A. | PS/87120005.101 | N. A. | N. A. | N. A. | N. A. | N. A. | 87120005 |  | N. A. | N. A. | SEMIFINISHED GOODS | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | Added on 29AUG2023 | N | N. A. |  | No | No | N. A. | N. A. | N. A. | N. A. | N. A. | N. A.
87120003.101 | 87120003.101 | JELONET, PARAFFIN GAUZE DRESSING, WITH PARCHMENT PAPER, SIZE 10CM X 10CM, 10 DRESSINGS | [7 empty] | QPF/87120003.101 | N. A. | N. A. | N. A. | N. A. | N. A. | PS/87120003.101 | N. A. | N. A. | N. A. | N. A. | N. A. | 87120003 |  | N. A. | N. A. | SEMIFINISHED GOODS | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | Added on 29AUG2023 | N | N. A. |  | No | No | N. A. | N. A. | N. A. | N. A. | N. A. | N. A.
87120009.101 | 87120009.101 | JELONET, PARAFFIN GAUZE DRESSING, WITH PARCHMENT PAPER, SIZE 10CM X 10CM, 20 DRESSINGS | [7 empty] | QPF/87120009.101 | N. A. | N. A. | N. A. | N. A. | N. A. | PS/87120009.101 | N. A. | N. A. | N. A. | N. A. | N. A. | 87120009 |  | N. A. | N. A. | SEMIFINISHED GOODS | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | Added on 29AUG2023 | N | N. A. |  | No | No | N. A. | N. A. | N. A. | N. A. | N. A. | N. A.
7415.1502 | 7415.1502 | JELONET, PARAFFIN GAUZE DRESSING, WITH PARCHMENT PAPER, SIZE 15CM X 2M, SINGLE ROLL | [7 empty] | QPF/7415.1502 | N. A. | N. A. | N. A. | N. A. | N. A. | PS/7415.1502 | N. A. | N. A. | N. A. | N. A. | N. A. | 7415 |  | N. A. | N. A. | SEMIFINISHED GOODS | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | Added on 29AUG2023 | N | N. A. |  | No | No | N. A. | N. A. | N. A. | N. A. | N. A. | N. A.
A1606.11 | A1606.11 | RESTOR RH, BUMPER FR, 3DEG |  | A1606.11 | 00 | 2023-09-20 | N. A. | N. A. | N. A. | QPF/A1606.11 | 00 | N. A. | N. A. | N. A. | N. A. | PS/A1606.11 | 00 | N. A. | N. A. | N. A. | N. A. | A1606.11 | DD-JRP1 | IU/8 | Class D | FINISHED GOODS | RESTOR™ RH | BUMPER FR |  | 02 | Yes | No | EO | Yes | A1606.11 | No | N. A. | No | Yes | No | Yes | M. L.: MFG/MD/2021/000369 |  | 1 | ADLER PRODUCTS\RESTOR PRODUCTS\IMPLANTS |  | Initial issue | N | JOINT REPLACEMENT PROSTHESIS |  | 1/lot | No | Yes | Yes | No | N. A. | 3 DEG. | HYPEREXTENSION
A1601.1020S5 | A1601.1020S5 | RESTOR POLY BUSH FOR TIBIA FR AND TIBIA TR |  | A1601.1020S5 | 00 | N. A. | N. A. | N. A. | N. A. | QPF/A1601.1020S5 | N. A. | N. A. | N. A. | N. A. | N. A. | PS/A1601.1020S5 | N. A. | N. A. | N. A. | N. A. | N. A. | A1601.1020 | DD-JRP1 | IU/10 | Class D | FINISHED GOODS | RESTOR™ | POLY BUSH | FOR TIBIA FR AND TIBIA TR | 04 | Yes | No | R | Yes | N. A. | No | N. A. | No | Yes | No | Yes | M. L.: MFG/MD/2021/000369 |  | 1 | SUB COMPONENTS | N. A. | Added on 226SEP023 | N | JOINT REPLACEMENT PROSTHESIS |  | 1/lot | No | Yes | No | No | N. A. | SINGLE | BUSH
A1601.0110C3 | A1601.0110C3 | RESTOR STRAIGHT INTRAMEDULLARY STEM TAPERING DIA. 10MM TO 09MM, 180MM LONG, CUSTOM MADE |  | A1601.0110C3 | N. A. | N. A. | N. A. | N. A. | N. A. | QPF/A1601.01 | 08 | 2022-04-12 | N. A. | N. A. | N. A. | PS/A1601.01 | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | FINISHED GOODS | RESTOR™ | IM Stem Straight | TAPERING DIA. 10MM TO 09MM, 180MM LONG, | 02 | Yes | No | R | Yes | A1601.0110C3 | No | N. A. | No | Yes | No | Yes | M. L.: MFG/MD/2021/000369 |  | 1 | ADLER PRODUCTS\RESTOR PRODUCTS\IMPLANTS | N. A. | Added on 226SEP023 | N | JOINT REPLACEMENT PROSTHESIS |  | No | No | Yes | Yes | No | N. A. | DIA 10MM | L180MM STRAIGHT
A1601.0110C4 | A1601.0110C4 | RESTOR STRAIGHT INTRAMEDULLARY STEM TAPERING DIA. 10MM TO 09MM, 220MM LONG, CUSTOM MADE |  | A1601.0110C4 | N. A. | N. A. | N. A. | N. A. | N. A. | QPF/A1601.01 | 08 | 2022-04-12 | N. A. | N. A. | N. A. | PS/A1601.01 | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | N. A. | FINISHED GOODS | RESTOR™ | IM Stem Straight | TAPERING DIA. 10MM TO 09MM, 220MM LONG | 02 | Yes | No | R | Yes | A1601.0110C4 | No | N. A. | No | Yes | No | Yes | M. L.: MFG/MD/2021/000369 |  | 1 | ADLER PRODUCTS\RESTOR PRODUCTS\IMPLANTS | N. A. | Added on 226SEP023 | N | JOINT REPLACEMENT PROSTHESIS |  | No | No | Yes | Yes | No | N. A. | DIA 10MM | L220MM STRAIGHT
C1606.15 | C1606.15 | RESTOR RH, BUMPER FR, 3DEG, TRIAL |  | C1606.15 | 00 | N. A. | N. A. | N. A. | N. A. | QPF/C1606.15 | 00 | N. A. | N. A. | N. A. | N. A. | PS/C1606.15 | 00 | N. A. | N. A. | N. A. | N. A. | C1606.15 | TF-IN | IU/5 | Class B | FINISHED GOODS | RESTOR™ RH | BUMPER FR, 3DEG | TRIAL | 17 | No | Yes |  | No | N. A. | No | N. A. | No | Yes | No | No | M. L.: MFG/MD/2023/000312 |  | 1 | ADLER PRODUCTS\RESTOR PRODUCTS\INSTRUMENTS | N. A. | Added on 18OCT2023 against E010923 | N | Implant Trials |  | No | No | Yes | No | Yes | N. A.